## Disclaimer
Last data update 1/20/2024
The Tennessee Department of Environment and Conservation (TDEC) is currently undertaking statewide sampling for PFAS in raw, untreated water sources that supply public drinking water systems. TDEC has, to the best of our ability, included accurate testing information; however, there may be restrictions due to sample collection, laboratory analysis, quality control, or reporting limitations. The sampling data, map, dashboard, and related information will be updated as TDEC receives new information over time. Please note that the data in this spreadsheet are from TDEC's sampling raw (i.e., untreated) source water. The Environmental Protection Agency's (EPA) proposed drinking water standards for PFAS published on March 29, 2023 (PFAS National Primary Drinking Water Regulation Rulemaking, 88 Fed. Reg. 18,638) will not apply to source water, only finished (i.e., treated) water. This interactive dashboard is for informational use only and is not intended for legal purposes.

## General Information
The Tennessee Department of Environment and Conservation (TDEC) supports protecting Tennesseans and the natural environment from potential risks posed by per- and polyfluoroalkyl (PFAS) chemicals. PFAS are a large and diverse family of over 5,000 manmade chemicals used in a wide variety of manufactured goods. PFAS can be found in fire-fighting foams, stain repellants, nonstick cookware, waterproof clothing, food containers, and many other household products. Certain PFAS chemicals are no longer manufactured in the United States as a result of their persistence in the environment and emerging evidence of adverse impacts to human health and the environment. TDEC is sampling for 29 PFAS compounds in untreated, source (raw) water that supplies public drinking water systems in a statewide sampling effort. The Environmental Protection Agency's (EPA) proposed drinking water standards for PFAS published on March 29, 2023 (PFAS National Primary Drinking Water Regulation Rulemaking, 88 Fed. Reg. 18,638) will not apply to source water, only finished (i.e., treated) water. TDEC’s Division of Water Resources staff are collecting samples at each raw water source for every public drinking water system. These raw water samples are then analyzed by a private lab using verified EPA methods. The results of the sampling events are communicated to the water system and published on a dashboard (see link below) as they become available. As this sampling event focuses on public drinking water sources, TDEC will not be testing water quality of private drinking water wells
Dashboard Link

## Definitions and Acronyms
Term | Definition
Minimum Detection Limit (MDL) | The minimum concentration of a PFAS analyte that can be measured and reported with statistical confidence that the PFAS analyte is greater than zero.
Minimum Reporting Limit (MRL) | The lowest concentration at which a PFAS analyte can be reliably quanitified under method conditions. The MRLs for the PFOA, PFOS, PFHxS, HFPO-DA, GenX, and PFNA are below EPA's proposed regulatory limits.
Non-Detect | The PFAS analyte was not detected at the laboratory's minimum detection level (MDL). The MDL is lower than both the Minimum Reporting Level. The MDLs for the PFOA, PFOS, PFHxS, HFPO-DA, GenX, and PFNA are below EPA's proposed regulatory limits
Detected Below MRL | The PFAS analyte was detected above the laboratory's minimum detection level (MDL) but below the minimum reporting level (MRL); therefore, the numerical value is an estimate, which is noted by an asterik (*). The MDL is lower than both the Minimum Reporting Level. The MDLs for the PFOA, PFOS, PFHxS, HFPO-DA, GenX, and PFNA are below EPA's proposed regulatory limits
Qualifier (Q) | A qualifier indicates that the results received from the lab may not be precise and/or accurate. Due to uncertainty, all qualified data is denoted with a "Q." TDEC staff will evaluate the need to resample and update the qualified data on a case-by-case basis.
Source | A unique intake or structure through which water is diverted form a source (e.g., river or lake) into a public water system treatment plant. The number of sources per public water system varies across the state.
Duplicate | A second sample taken from and representative of the same source and carried through all steps of the sampling and analytical procedures in an identical manner. Duplicate samples are used to assess variance of the total method including sampling and analysis. Duplicate samples are collected by filling a separate container for each analysis immediately following the collection of the primary sample (e.g., PFAS sample then PFAS duplicate sample). Duplicate samples are typically required at a frequency of one duplicate sample per twenty field samples (1:20), with a minimum of one field duplicate per sampling event.

## Sample Results
City | Public Utility System Name | Public Utility System ID | Public Utility System Population Served | Number of Sources Sampled | Source ID | Source Type | Sources | Raw or Treated Water | Sample Date | PFOA (results in ng/L or parts per trillion) | PFOS (results in ng/L or parts per trillion) | PFBS (results in ng/L or parts per trillion) | HFPO-DA (results in ng/L or parts per trillion) | PFHxS (results in ng/L or parts per trillion) | PFNA (results in ng/L or parts per trillion) | PFBA (results in ng/L or parts per trillion) | PFMPA (results in ng/L or parts per trillion) | PFPeA (results in ng/L or parts per trillion) | PFMBA (results in ng/L or parts per trillion) | PFEESA (results in ng/L or parts per trillion) | PFTrDA (results in ng/L or parts per trillion) | NFDHA (results in ng/L or parts per trillion) | 4:2 FTS (results in ng/L or parts per trillion) | NETFOSAA (results in ng/L or parts per trillion) | NMEFOSAA (results in ng/L or parts per trillion) | PFHpA (results in ng/L or parts per trillion) | PFHxA (results in ng/L or parts per trillion) | ADONA (results in ng/L or parts per trillion) | PFPeS (results in ng/L or parts per trillion) | 6:2 FTS (results in ng/L or parts per trillion) | PFHpS (results in ng/L or parts per trillion) | PFTeDA (results in ng/L or parts per trillion) | 9Cl-PF3ONS (results in ng/L or parts per trillion) | 8:2 FTS (results in ng/L or parts per trillion) | PFDA (results in ng/L or parts per trillion) | PFUnA (results in ng/L or parts per trillion) | 11Cl-PF3OUdS (results in ng/L or parts per trillion) | PFDoA (results in ng/L or parts per trillion)
Ardmore | ARDMORE WATER SYSTEM | TN0000018 | 1495 | 3D | WL_01 (Well #1) | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-05-10 | 5.6 | 12 | 3.2 | Non-Detect | 3.5 | Non-Detect | 8.4 | Non-Detect | 3.9 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | 2 | 4.3 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
[5 empty] | WL_01 (Well #1) DUPLICATE | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-05-10 | 6 | 12 | 3.5 | Non-Detect | 3.5 | Non-Detect | 8.7 | Non-Detect | 4.1 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | 2 | 4.2 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
[5 empty] | WL_02 (Well #2) | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-05-10 | Non-Detect | 3.1 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | 3.5 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
[5 empty] | WL_03 (Well #3) | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-05-10 | 4.8 | 8.3 | 3.5 | Non-Detect | 2.3 | Non-Detect | 6.6 | Non-Detect | 2.6 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | 2.5 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Columbia | COLUMBIA POWER & WATER SYSTEMS | TN0000128 | 78630 | 1 | IN_01 Duck River | Surface Water | Duck River | Raw Water | 2023-05-10 | 2.1 | 2.1 | 3 | Non-Detect | Non-Detect | Non-Detect | 2 | Non-Detect | 2.5 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | 2.1 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Fayetteville | FAYETTEVILLE PUBLIC UTILITIES | TN0000242 | 13683 | 1 | IN_01 Elk River | Surface Water | Elk River | Raw Water | 2023-05-10 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Lawrenceburg | Lawrenceburg Utility Systems | TN0000392 | 21603 | 2 | IN02 (Shoal Creek) | Surface Water | Shoal Creek | Raw Water | 2023-06-28 | Non-Detect | 5.1 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Q | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
[5 empty] | SP02 (Hope Spring) | Spring Water | Hope Spring | Raw Water | 2023-06-28 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Q | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Pulaski | Pulaski Water System | TN0000562 | 11253 | 1 | IN01 (Richland Creek) | Surface Water | Richland Creek | Raw Water | 2023-06-28 | Non-Detect | 3.1 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Q | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | 3.8 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
[5 empty] | IN01 (Richland Creek) DUPLICATE | Surface Water | Richland Creek | Raw Water | 2023-06-28 | Non-Detect | 3.2 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Q | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Spring Hill | Spring Hill Water Department | TN0000667 | 60893 | 1 | IN01 (Duck River) | Surface Water | Duck River | Raw Water | 2023-06-28 | 2.5 | 3.3 | 3.5 | Non-Detect | Non-Detect | Non-Detect | Q | Non-Detect | 4 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | 2.1 | 3.2 | Non-Detect | Non-Detect | 11 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Lincoln County | Lincoln County Public Utilities | TN0000764 | 23123 | 5 | WL01-10 (TAFT NO.10) | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-08-01 | Non-Detect | Non-Detect | 3.1 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
[5 empty] | WL02-01 (ELORA SIMMO) | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-08-01 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
[5 empty] | WL02-02 (ELORA NO.2) | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-08-01 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
[5 empty] | WL03-03 (FLINTVILLE) | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-08-01 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
[5 empty] | WL03-04 (FLINTVILLE) | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-08-01 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Knoxville | First Utility District of Knox County | TN0000369 | 95628 | 1 | IN02 (Sinking Creek) | Surface Water | Sinking Creek | Raw Water | 2023-08-29 | Detected Below MRL | 2.7 | 2.7 | Non-Detect | Detected Below MRL | Non-Detect | 2.9 | Non-Detect | Q | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Detected Below MRL | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Norris | Norris Water Commission | TN0000513 | 2126 | 1 | SP01 (Clear Creek Spring) | Spring Water | Clear Creek Spring | Raw Water | 2023-08-29 | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Clinton | Clint Utilities Board | TN0000120 | 18288 | 1 | IN01 (Clinch River) | Surface Water | Clinch River | Raw Water | 2023-08-29 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Detected Below MRL | Non-Detect | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Clinton | Anderson County Water Authority | TN0000514 | 25700 | 1 | IN02 (Clinch River #2) | Surface Water | Clinch River | Raw Water | 2023-08-29 | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Detected Below MRL | Non-Detect | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Knoxville | Hallsdale-Powell Utility District | TN0000280 | 71136 | 1 | IN04 (Melton Hill Reservoir) | Surface Water | Melton Hill Reservoir | Raw Water | 2023-08-29 | Detected Below MRL | Detected Below MRL | 2.1 | Non-Detect | Detected Below MRL | Non-Detect | 2.3 | Non-Detect | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Detected Below MRL | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Knoxville | West Knox Utility District | TN0000371 | 70666 | 1D | IN02 (Melton Hill new) | Surface Water | Melton Hill Reservoir | Raw Water | 2023-08-29 | Detected Below MRL | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
[5 empty] | IN02 (Melton Hill new) DUPLICATE | Surface Water | Melton Hill Reservoir | Raw Water | 2023-08-29 | Detected Below MRL | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Detected Below MRL | Non-Detect | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Sevierville | Sevierville Water System | TN0000617 | 36542 | 1 | IN02 | Surface Water | French Broad River | Raw Water | 2023-10-11 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Sevierville | Riverside Campground | TN0000925 | 450 | 1 | WL01 Well #1 | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-10-11 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Roan Mountain | Roan Mountain Utility District | TN0000584 | 1026 | 4 | WL01 Well #1 | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-10-10 | Non-Detect | Detected Below MRL | Non-Detect | Non-Detect | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
[5 empty] | WL02 Well #2 | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-10-10 | Non-Detect | Detected Below MRL | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
[5 empty] | WL03 Well #3 | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-10-10 | Non-Detect | Detected Below MRL | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
[5 empty] | WL04 Well #4 | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-10-10 | Non-Detect | Detected Below MRL | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Elizabethton | Watauga Dam Reservation PUA | TN0004205 | 25 | 1 | WL01 Well #1 | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-10-10 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Hampton | Dennis Cove Campground - USFS | TN0004277 | 33 | 1 | WL01 Well #1 | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-10-10 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Townsend | Cable Mill Comfort Station | TN0001262 | 2000 | 1D | WL02 Well #2 | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-10-10 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
[5 empty] | WL02 Well #2 Duplicate | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-10-10 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
South Pittsburgh | South Pittsburgh Water System | TN0000651 | 7304 | 1 | IN01 (Tennessee River) | Surface Water | Tennessee River | Raw Water | 2023-10-10 | Detected Below MRL | 2.1 | Detected Below MRL | Non-Detect | Detected Below MRL | Non-Detect | 5.5 | Non-Detect | 2 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Detected Below MRL | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Whitwell | TN American Sequatchie Valley | TN0000749 | 7125 | 1 | IN01 (Sequatchie River) | Surface Water | Sequatchie River | Raw Water | 2023-10-10 | Detected Below MRL | Detected Below MRL | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Detected Below MRL | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Chattanooga | Suck Creek Water System | TN0000909 | 650 | 1 | WL01 Well #1 | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-10-10 | Detected Below MRL | Detected Below MRL | Detected Below MRL | Non-Detect | Detected Below MRL | Non-Detect | 5.6 | Non-Detect | 3.4 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Detected Below MRL | 2.1 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Oneida | Oneida Water and Sewer Commission | TN0000532 | 10688 | 2 | IN01 (Howard Baker Lake) | Surface Water | Howard Baker Lake | Raw Water | 2023-10-10 | Detected Below MRL | Detected Below MRL | Detected Below MRL | Non-Detect | Detected Below MRL | Detected Below MRL | 3.4 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Detected Below MRL | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
[5 empty] | IN04 (City Park Lake) | Surface Water | City Park Lake | Raw Water | 2023-10-10 | Detected Below MRL | Detected Below MRL | Detected Below MRL | Non-Detect | Detected Below MRL | Detected Below MRL | 4.7 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Detected Below MRL | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Pigeon Forge | Pigeon Forge Water Department | TN0000548 | 14499 | 1 | IN01 (Doulgas Lake) | Surface Water | Douglas Lake | Raw Water | 2023-10-11 | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Oneida | Bandy Creek Campground | TN0004508 | 1003 | 4D | WL02 Well #2 | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-10-10 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
[5 empty] | WL02 Well #2 Duplicate | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-10-10 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
[5 empty] | WL03 Well #3 | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-10-10 | Non-Detect | Detected Below MRL | Non-Detect | Non-Detect | Detected Below MRL | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Detected Below MRL | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
[5 empty] | WL05 Well #5 | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-10-10 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
[5 empty] | WL07 Well #7 | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-10-10 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Detected Below MRL | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Oneida | Charit Creek Lodge | TN0004556 | 48 | 1 | WL03 New Well #2 | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-10-09 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Townsend | Cades Cove Campground | TN0001263 | 2000 | 1 | WL01 Well #1 | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-10-09 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Gatlinburg | Abrams Creek Campground | TN0001261 | 68 | 1 | WL01 Well #1 | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-10-09 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Hampton | Black Bear Resort | TN0004989 | 69 | 1 | SP01 Spring | Spring Water | Unnamed Spring Water Source | Raw Water | 2023-10-09 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Huntsville | Huntsville Utility District | TN0000318 | 11987 | 1 | IN01 (Flat Creek Impoundment) | Surface Water | Flat Creek | Raw Water | 2023-10-09 | Detected Below MRL | Detected Below MRL | Detected Below MRL | Non-Detect | Non-Detect | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Jasper | Jasper Water Department | TN0000325 | 9550 | 2D | IN01 (Sequatchie River) | Surface Water | Sequatchie River | Raw Water | 2023-10-09 | Detected Below MRL | Detected Below MRL | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Detected Below MRL | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
[5 empty] | SP01 (Blue Springs) | Spring Water | Blue Springs | Raw Water | 2023-10-09 | Detected Below MRL | Detected Below MRL | 3 | Non-Detect | Detected Below MRL | Non-Detect | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Detected Below MRL | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
[5 empty] | SP01 (Blue Springs) Duplicate | Spring Water | Blue Springs | Raw Water | 2023-10-09 | Detected Below MRL | Detected Below MRL | 2.7 | Non-Detect | Detected Below MRL | Non-Detect | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Detected Below MRL | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
Gatlinburg | Gatlingburg Water Department | TN0000256 | 8313 | 1 | IN01 (Little Pigeon River) | Surface Water | Little Pigeon River | Raw Water | 2023-10-09 | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect
South Pittsburgh | Battle Creek Market | TN0002697 | 25 | 1 | WL01 Well #1 | Groundwater Wells | Unnamed Groundwater | Raw Water | 2023-10-09 | Non-Detect | Detected Below MRL | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Detected Below MRL | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect